JNEOPALLIUM · INDUSTRIAL LOOP GUARDIAN DEPLOYMENT GUIDE

Deployment Guide

Run the trained supervisory network as a shadow/advisory worker above PLC/PID/SIS

The deployment half of the pipeline: take the JNeopallium network the trainer produced — together with its ready-made production context — wire it to your OPC UA, MQTT, and Kafka feeds, and run it as a continuous shadow-to-advisory supervisory worker that never touches deterministic control.

| Document | Production Deployment Guide |
| --- | --- |
| Product | Jneopallium Industrial Loop Guardian (FMI Skid Demo) |
| Consumes | The deployable network from the Training Guide |
| Safety mode | ADVISORY (supervisory, recommend-only) |
| Platforms | Windows (PowerShell) and Linux/macOS (bash) |
| Author | Dmytro Rakovskyi — Kharkiv, Ukraine |
| Date | 23 June 2026 |
| License | BSD 3-Clause |

Contents

1.  What you will achieve

2.  Prerequisites — the trained package and runtime

3.  The launch architecture

4.  The deployable package (what training produced)

5.  Point the worker at the generated neuron-net structure

6.  Package the deployment JAR

7.  Runtime configuration: production-context.json

8.  Configure event sources and streaming input

9.  Wire the advisory output and launch the worker

10.  The control and safety boundary in production

11.  Promote: shadow → advisory → bounded autonomous

12.  Monitoring in production

13.  Safety, rollback and packaging

14.  Troubleshooting

15.  Appendix — deployment cheat-sheet

1  What you will achieve

By the end of this guide you will have taken the deployable network produced by the Training Guide — a directory of JNeopallium layer/neuron configuration plus a ready-made production-context.json — and run it as a continuous supervisory advisory worker that diagnoses pump wear, oscillation, sensor drift, and energy deterioration, and recommends — but never autonomously controls.

Safety ceiling for the whole guide Everything below operates in ADVISORY mode, above PLC/PID/SIS. The worker may recommend maintenance, bounded setpoint trims, and energy actions; it must not actuate. OPC UA actuator writes stay blocked until an offline replay, a shadow pilot, an advisory subscription, and a site safety case have all passed.

2  Prerequisites — the trained package and runtime

A trained network from the Training Guide — the artifact directory containing model-descriptor.json, layer-0.json … result-layer.json, trained-industrial-loop-guardian-model.json, and production-context.json.

Java 17+ and the built worker (worker-jar-with-dependencies.jar).

Your plant telemetry — OPC UA process tags, MQTT IIoT telemetry, and optionally a Kafka shadow stream and CMMS / energy-meter context.

An output destination — a JSONL sink for shadow mode, or Kafka / SIEM / CMMS / webhook for operator-visible advisory.

Training first If you do not yet have a trained network, run the companion Training Guide. Deployment consumes its output directory directly, including the bundled production-context.json.

3  The launch architecture

A production deployment uses the worker's real entry point with four arguments:

java com.rakovpublic.jneuropallium.worker.application.Entry \ <mode> <model-jar-url> <context-class> <context-json-or-path>

| Argument | Meaning | Example |
| --- | --- | --- |
| mode | Deployment topology | local, http, grpc-client, grpc-master |
| model-jar-url | URL of your deployment JAR | file:///opt/jneopallium/industrial-loop-guardian.jar |
| context-class | An IContext implementation | …runtime.DemoJsonContext |
| context-json-or-path | Inline JSON or a path to a JSON config file | …/production-context.json |

Entry deserialises the context with the context class, loads the model JAR into an isolated class loader, then maps local, http, or grpc to LocalApplication, HttpClusterApplication, or the gRPC server path — the same topologies as the architecture.

4  The deployable package (what training produced)

The trainer emits the actual JNeopallium network, not an abstract model. The five layer files plus the descriptor are what the worker boots from:

| Artifact | Role at deploy time |
| --- | --- |
| model-descriptor.json | Whole-network map: 5 layers, 17 neurons, frequency map, runtime classes |
| layer-0.json | Plant + supervisory-context input boundary |
| layer-1-fast-telemetry.json | Fast telemetry validation and loop state (7 neurons) |
| layer-2-maintenance-energy.json | The four trained diagnostic finding heads |
| layer-3-advisory-planning.json | Economic advisory planning + the fixed safety gate (4 neurons) |
| result-layer.json | Industrial advisory JSONL output (2 neurons) |
| production-context.json | A ready-to-run advisory-worker context |

Total network: 5 layers, 17 real neurons, 156 trainable weights, 4 biases. Every neuron names a concrete class from the worker's industrial package — deployment points the worker at this directory, it does not re-implement anything.

5  Point the worker at the generated neuron-net structure

The neuron-net structure is generated by training, not hand-written. configuration.input.layermeta (set in production-context.json to model/industrial-loop-guardian/) points at the directory holding the five layer files, and the worker boots the network directly. Each file is a real layer of real neurons:

| Layer file | Real neuron classes / role |
| --- | --- |
| layer-1-fast-telemetry.json | SensorNeuron, MeasurementValidatorNeuron, OscillationMonitorNeuron, … |
| layer-2-maintenance-energy.json | DegradationModelNeuron, EnergyAccountingNeuron — the four heads |
| layer-3-advisory-planning.json | MaintenanceSchedulingNeuron, SetpointOptimiserNeuron, SafetyGateNeuron |
| result-layer.json | Advisory JSONL output neurons |

The diagnostic heads embed everything the model learned, ready to run — the trained weights, each head's allowed featureGate, its logicalNeuronRole, and its ownedReasoning — so a production reviewer can confirm the logic lives inside the model, not in glue code.

No translation step Because the structure is generated with the trained heads already inside, what you deploy is exactly what was trained and tested: the same weights, the same feature gates, the same response bands, the same fixed safety gate.

6  Package the deployment JAR

The neuron, processor, and signal classes the structure references already ship in the worker's industrial module, so you do not re-implement them. Package these for deployment:

| Component | Contents |
| --- | --- |
| Typed signals | MeasurementSignal, AlarmSignal, DegradationSignal, EfficiencySignal, MaintenanceWindowSignal, SetpointSignal, InterlockSignal |
| Neurons | SensorNeuron, MeasurementValidatorNeuron, OscillationMonitorNeuron, DegradationModelNeuron, MaintenanceSchedulingNeuron, EnergyAccountingNeuron, SetpointOptimiserNeuron, SafetyGateNeuron |
| Processors | validation, oscillation/stiction, degradation scheduling, maintenance-window scheduling, efficiency optimisation, safety gate, dispatch |
| Sources | OPC UA measurements/alarms, MQTT telemetry, Kafka shadow, CMMS, energy-meter context |
| Sinks | JSONL audit sink, Kafka/SIEM/webhook adapter; OPC UA command sink only with a safety case |

Fail-fast class check production-context.json sets configuration.neuronnet.classes to the full runtime class list. At startup LocalApplication checks every class is present in the JAR and fails fast if the package is incomplete.

7  Runtime configuration: production-context.json

The trainer generates a ready-to-run context. It uses the standard shape {"properties": { … }} and already encodes the advisory-loop settings. The critical keys:

| Key | Production value |
| --- | --- |
| configuration.input.layermeta | model/industrial-loop-guardian/ (the generated layer directory) |
| configuration.isteacherstudying | false |
| configuration.discriminatorsAmount | 0 |
| configuration.infiniteRun | true |
| configuration.runoncein | 1 ms (one advisory tick per millisecond) |
| configuration.processing.frequency.map | fast tags every loop; degradation/energy every 10; maintenance every 60 |
| configuration.outputAggregator | JsonlResultAggregator (swap for your SIEM/Kafka sink) |
| industrial.autonomousAction | false |
| industrial.opcua.role | bounded-local-actuator-path |
| industrial.mqtt.role | telemetry-and-advisory-only |
| industrial.neuronOwnedLogic | diagnosis, economic-basis, safety-envelope, bounded-recommendation |

The continuous advisory loop Together, isteacherstudying=false, discriminatorsAmount=0, and infiniteRun=true put the worker into its continuous advisory loop. runoncein=1 paces it to one advisory tick per millisecond, before the per-signal frequency map fans fast and slow signals out at their own cadences.

8  Configure event sources and streaming input

Local Entry replay uses the bundled IndustrialLoopGuardianReplayInput (started by the IndustrialLoopGuardianEntryLauncher). For production, plug in a site-specific IInitInput, or one of the shipped bridge inputs — OPC UA, MQTT, FMI, and PLC4X measurement/event inputs — that convert your records into typed industrial signals while preserving event time. Recommended Kafka topic groups:

| Topic group | Maps to signal |
| --- | --- |
| plant.telemetry.measurements | MeasurementSignal |
| plant.telemetry.alarms | AlarmSignal |
| plant.maintenance.events | DegradationSignal / maintenance context |
| plant.energy.meters | EfficiencySignal |
| plant.cmms.workorders | MaintenanceWindowSignal / maintenance history |
| plant.condition.waveforms | MachineWaveformSignal (acoustic / vibration streams) |

Keep the streaming cadence aligned with configuration.processing.frequency.map: fast-loop tags every loop; maintenance and energy findings every 10–60 loops; machine-health features and advisories on their own slower cadence. Because correlation is by event time, delayed or out-of-order telemetry still lands in the right place.

Machine-health condition-monitoring input Acoustic and vibration waveforms arrive as MachineWaveformSignal; the Java machine-health runtime extracts features, scores operating regime and domain shift, forms fault hypotheses, and emits an advisory — all read-only. Feed it from the same OPC UA / MQTT / FMI / PLC4X bridges, or a dedicated high-rate sensor stream.

9  Wire the advisory output and launch the worker

configuration.outputAggregator names an IOutputAggregator, called every cycle with the advisories the net produced. The bundled JsonlResultAggregator writes advisory JSONL — ideal for the shadow-mode audit sink. Each advisory carries its full reasoning and economic basis:

{ "asset": "P-101", "finding": "pump wear and cavitation risk", "confidence": 0.73, "evidence": { "neuron": "PumpHealthAndEfficiencyNeuron", "maxVibrationRms": 4.3 }, "recommendation": "SCHEDULE_PUMP_INSPECTION", "recommendedAction": "Inspect P-101 impeller and suction strainer.", "urgencyHours": 48, "economicBasis": { "neuron": "EconomicBasisNeuron", "estimatedAvoidedShutdownValueUsd": 20000, "safetyEnvelopeSatisfied": true }, "controlBoundary": { "plcPidSis": "deterministic control and hard safety remain authoritative", "jneopallium": "supervisory diagnosis and bounded recommendations" }, "autonomousAction": false }

The machine-health subsystem emits a parallel `MachineHealthAdvisorySignal` with its own calibrated, uncertainty-aware shape — also advisory-only:

{ "asset": "P-101", "healthScore": 0.62, "anomalyProbability": 0.71, "faultProbabilities": { "bearingDamage": 0.66, "cavitation": 0.21, "imbalance": 0.08, "sensorFault": 0.05 }, "unknownAnomalyProbability": 0.12, "domainShiftScore": 0.18, "uncertainty": 0.24, "evidence": { "neuron": "MachineHealthCorrelationNeuron", "acousticRms": 0.41, "vibrationEnvelopeEnergy": 0.58 }, "autonomousAction": false }

For production, forward this JSONL to your SIEM, a Kafka topic, a CMMS, or a webhook. Then launch the worker (use ; as the classpath separator on Windows, : on Linux/macOS):

java -cp worker/target/worker-jar-with-dependencies.jar \ com.rakovpublic.jneuropallium.worker.application.Entry \ local \ file:///opt/jneopallium/industrial-loop-guardian.jar \ com.rakovpublic.jneuropallium.worker.demo.fullrun.runtime.DemoJsonContext \ /opt/jneopallium/model/industrial-loop-guardian/production-context.json

10  The control and safety boundary in production

The boundary the demo enforces is the boundary you keep in production. It is what makes the product insurable and easy to validate:

PLC / PID / SIS own deterministic millisecond control and hard safety. Always authoritative.

OPC UA is the only bounded actuator path, and only when a safety case allows writes. Three command nodes; every write passes the priority chain below.

MQTT is telemetry and advisory only — the bridge structurally rejects AUTONOMOUS.

Machine-health is read-only: the MachineHealthAdvisorySignal never writes an actuator command; the interlocks, safety gate, and operator override stay authoritative over it too.

hard interlock -> local fail-safe -> operator override -> safety mode -> validation/quality -> clamp -> ramp limit -> diff suppression -> OPC UA write -> audit

Fail-safe defaults on loss: cooling valve 100% open, pump speed 30%, heater power 0%. On OPC UA loss the skid applies these locally; on MQTT loss fast-loop control availability stays at 1.0.

11  Promote: shadow → advisory → bounded autonomous

Promote gradually. Each step earns the next; OPC UA writes stay blocked until the whole sequence has passed.

1.  Offline replay. Analyse exported historian / OPC UA / MQTT data without connecting to production. Deliver discovered anomalies, an event timeline, estimated financial impact, and a false-positive review.

2.  Shadow pilot. Read-only connection to the plant, no actuator writes. Compare advisories against actual later outcomes and a simple-algorithm baseline.

3.  Production advisory subscription. Operator-visible advisories with economic basis, once false-positive budgets and latency targets are met.

4.  Bounded autonomous optimisation. Only after substantial shadow evidence and a site safety case — narrowly bounded setpoint recommendations or commands that never replace PLC interlocks or a certified SIS.

12  Monitoring in production

Measurements processed per source per minute; dropped, delayed, out-of-order events.

Advisory count per asset; false-positive review rate; confirmed true-positive rate.

Detection lead time (how early before the eventual failure or alarm).

Energy and downtime estimates versus a simple-algorithm baseline.

Model version and trainingChecksum used for every advisory; interlock and override events.

Every advisory preserves its lineage: asset, contributing signals, the owning neuron, the economic basis, the safety-envelope result, and the control-boundary statement.

13  Safety, rollback and packaging

Packaging

The generated artifact directory (layer files, model, descriptor, production-context.json).

Git commit SHA, training command, the trainingChecksum, generated artifact checksums, the advisory-deployment approval record, and a rollback package identifier.

Safety and rollback rules

Hard safety gates are fixed configuration in layer-3-advisory-planning.json, never learned model weights; interlocks and operator overrides remain authoritative.

Keep the previous network package available for immediate rollback.

Roll back if false positives exceed budget, source coverage drops, or the simple-algorithm baseline is no longer beaten.

Honest limitation The checked-in reference network is trained on a synthetic, deterministic skid corpus. It is excellent for repeatable pipeline evidence and safety-boundary regression, but it is simulation/HIL evidence — not a certified safety controller. It does not replace PLC/SIS validation, hazard analysis, management of change, or site acceptance testing. Real accuracy requires external historian, CMMS, and energy-meter validation.

14  Troubleshooting

| Symptom | Likely cause and fix |
| --- | --- |
| Cannot find class … in provided jar | A class in configuration.neuronnet.classes is missing — rebuild the deployment JAR |
| Worker starts but emits nothing | Check the event source clazz and that readSignals() returns typed signals |
| Structure not loaded | Confirm configuration.input.layermeta points at the generated layer directory |
| Worker exits immediately | For a live supervisor set infiniteRun=true; maxRun is for bounded replay |
| An advisory tries to actuate | Verify industrial.autonomousAction=false and the response layer is ADVISORY |
| Stale weights at runtime | You deployed an old layer directory; redeploy the latest trained package |

15  Appendix — deployment cheat-sheet

Launch a production advisory worker

java -cp worker/target/worker-jar-with-dependencies.jar \ com.rakovpublic.jneuropallium.worker.application.Entry \ local file:///opt/jneopallium/industrial-loop-guardian.jar \ com.rakovpublic.jneuropallium.worker.demo.fullrun.runtime.DemoJsonContext \ /opt/jneopallium/model/industrial-loop-guardian/production-context.json

The advisory-worker context essentials

configuration.input.layermeta = model/industrial-loop-guardian/ configuration.isteacherstudying = false configuration.discriminatorsAmount = 0 configuration.infiniteRun = true configuration.runoncein = 1 industrial.autonomousAction = false

Jneopallium Industrial Loop Guardian · Deployment Guide. Consumes the network produced by the Training Guide. Supervisory above PLC/PID/SIS. Safety mode: ADVISORY. OPC UA writes require a separate site safety case. License: BSD 3-Clause.