Building Models with DICOM and Jneopallium

User Manual

Medical imaging integration · read-only by construction · no write surface

Version: 1.0-SNAPSHOT

License: BSD 3-Clause

Author: Dmytro Rakovskyi

# 1. Introduction

[DICOM](https://www.dicomstandard.org/) (Digital Imaging and Communications in Medicine) is the standard for medical imaging in clinical use. Every CT scanner, MRI machine, ultrasound probe, X-ray detector, and PET scanner speaks DICOM. So does every PACS (Picture Archiving and Communication System), every modality workstation, every advanced visualisation suite. DICOM defines both the file format (the ubiquitous .dcm files) and the network protocols — classic DIMSE (Digital Imaging and Communications in Medicine over TCP) and the modern web-friendly DICOMweb (QIDO-RS for queries, WADO-RS for retrieval, STOW-RS for storage).

The DICOM bridge connects Jneopallium to clinical imaging data. It reads study lists, series metadata, and DICOM Structured Reports (SR) — the textual radiologist interpretations of imaging studies — from a PACS or DICOMweb endpoint. The structured-report parser turns the SR's content tree into typed ImagingFindingSignals that downstream clinical-reasoning neurons consume. The bridge does not read pixel data — clinical narrative is the primary signal, and pulling DICOM pixel arrays would create a per-study egress of hundreds of megabytes that the bridge has no business handling.

This bridge is the most restrictive in the directory. Even more than FHIR (which has structural defences against writes), the DICOM bridge has no aggregator class at all. The worker.bridge.dicom package contains a DicomAuditOutput for the audit channel and zero IOutputAggregator implementations. There is no surface against which a higher layer could plug a write. A worker.registerOutputAggregator(new DicomOutputAggregator()) line wouldn't compile — the class doesn't exist. Combined with the read-only transport seam (only qido() and wadoMetadata(), both GET) and the explicit rejection of any writes: block at config load, the bridge is structurally incapable of writing back to a PACS.

Why this matters: medical imaging is regulated under MDR (EU) and 21 CFR Part 820 (US). A bridge that submitted AI-generated findings back to a PACS as if they were radiologist interpretations would create immediate legal and ethical liability. The bridge produces findings as typed signals consumed by Jneopallium's clinical-reasoning neurons, which then write proposals to advisory files (the FHIR bridge pattern) or — if you have a separately certified reporting pipeline — to that pipeline. The DICOM bridge is the ingress, never the egress.

This manual explains how to install the dependency, configure the bridge against either a DICOMweb endpoint (Orthanc, dcm4chee) or a classical DIMSE PACS, parse DICOM SRs into clinical signals, and validate end to end. It assumes a Java engineer who knows Maven, has read the universal bridge framework (00-FRAMEWORK.md), and has at least basic familiarity with DICOM concepts (Study/Series/Instance hierarchy, modalities, the SR content tree).

# 2. Six rules you must internalise before writing any code

The universal six from 00-FRAMEWORK.md §0, specialised for DICOM. The first three are stricter than any other bridge in the directory.

- No raw write to anything from neuron output. There is no "write" to anything from this bridge. The bridge package contains no IOutputAggregator implementation. Code that would call bridge.writeFinding() cannot compile because no such method or class exists. The structural defence is at the package level — the surface to drive an outbound DICOM operation simply isn't there.

- Interlocks have no DICOM authority. An InterlockSignal cannot stop, redirect, or annotate a DICOM study. The bridge has no write path to a PACS. Interlock-style clinical findings produced by neurons downstream of this bridge flow to the FHIR bridge's advisory file, the LSL bridge's outlet, or a similar separately-authorised egress.

- Operator override does not apply. The bridge writes no regulatory clinical decisions. OperatorOverrideSignal is ignored because there is nothing to override at the bridge boundary.

- Every poll produces an audit record. Records cover successful QIDO queries, WADO metadata fetches, SR parses, pseudonymisation events, fetch failures, and quota-exceeded warnings. Audits are local JSONL only — no SIEM mirror, no MQTT mirror, no SOC integration. Imaging metadata is PHI; the audit trail stays on the host.

- Quality propagates from DICOM tags. A SR with (0040,A370) VerificationFlag = VERIFIED produces Quality.GOOD. UNVERIFIED produces Quality.UNCERTAIN. A study with StudyInstanceUID present but no SR attached produces no signal at all (no quality, just no signal). The mapper does not invent quality.

- Wall-clock timestamps come from DICOM tags. SR content carries ObservationDateTime (0040,A032) at the report level and per-content-item. The mapper honours these in priority order: ObservationDateTime, ContentDate+ContentTime, StudyDate. System.currentTimeMillis() is the fallback only when all DICOM time tags are absent — which is rare.

# 3. Prerequisites

- JDK 17 or later. The bridge uses Java records and java.net.http.HttpClient.

- Maven 3.9 or later.

- A DICOM data source. Two paths:

- DICOMweb — modern, recommended. Use [Orthanc](https://www.orthanc-server.com/) (free open-source PACS), [dcm4chee Arc Light](https://dcm4che.atlassian.net/wiki/spaces/ee2/overview), or your institution's vendor-provided DICOMweb endpoint. The bridge's JdkHttpDicomwebTransport works against any conformant DICOMweb server.

- DIMSE — classical, still ubiquitous in production. The bridge defines a DimseClient interface with only cFind/cMove/cGet (no cStore); production wiring plugs in a dcm4che-based adapter you supply. The repo ships InMemoryDimseClient for tests.

- The bridge core compiles without any DICOM-handling library — dcm4che, pixelmed, all the rest are deployment-supplied. Tests use the in-memory transport implementations.

- For deployments handling identifiable imaging data: institutional review board approval, BAA with cloud providers (US), GDPR processing basis (EU), and the operator-side procedures for handling PHI in medical images. Imaging is one of the most identifying data types in healthcare — burned-in patient name on a CT scout, facial geometry from a head MRI, fingerprints from a hand X-ray.

# 4. Adding Jneopallium to your project

The DICOM bridge ships in the same worker artifact as the rest of Jneopallium:

<repositories> <repository> <id>gitlab-jneopallium</id> <url>https://gitlab.com/api/v4/projects/44434192/packages/maven</url> </repository> </repositories> <dependencies> <dependency> <groupId>com.rakovpublic.jneopallium</groupId> <artifactId>worker</artifactId> <version>1.0-SNAPSHOT</version> </dependency> </dependencies>

No DICOM client library is required by the bridge core. Jackson handles JSON; the JDK's java.net.http.HttpClient handles DICOMweb GETs. For DIMSE deployments, add dcm4che to your deployment module (not the worker) and supply a DimseClient adapter:

<dependency> <groupId>org.dcm4che</groupId> <artifactId>dcm4che-net</artifactId> <version>5.32.0</version> <scope>runtime</scope> </dependency>

The bridge stays unaware of dcm4che — the DimseClient interface mirrors only the read-only DIMSE primitives.

# 5. Architecture

The bridge introduces fifteen boundary classes under worker.bridge.dicom:

┌──────────────────────────────────┐ HTTPS GET (QIDO / WADO) │ DICOM endpoint │ ◀───────────────────────────┐ │ • Orthanc / dcm4chee Arc │ │ │ • Hospital PACS │ ─── JSON: studies, ──────▶ │ │ • Vendor cloud DICOMweb │ series, SR │ │ │ │ │ Studies, series, instances │ │ │ Structured Reports (SR) │ │ └──────────────────────────────────┘ │ │ DIMSE (alternative) │ ┌──────────────────────────────────┐ │ │ Classical DIMSE PACS │ │ │ (C-FIND / C-MOVE / C-GET) │ ─── DICOM+JSON ──────────▶ │ │ │ │ │ NO C-STORE outbound │ │ │ NO STOW-RS │ │ └──────────────────────────────────┘ │ ▼ ┌──────────────────────────────────────┐ │ DicomClientService │ │ • owns transport (DicomwebTransport │ │ or DimseClient) │ │ • per-binding poll scheduler │ │ • SR parser (DicomSrParser) │ │ • DicomPseudonymService │ │ • per-binding signal queues │ └─────────────┬────────────────────────┘ │ ▼ ┌──────────────────────────────────────┐ │ DicomFindingInput │ │ (IInitInput → ImagingFindingSignal) │ └──────────────────────────────────────┘ ▼ [Standard Jneopallium pipeline] NO aggregator. NO output class. The bridge has no egress surface.

Components:

| Class | Role |
| --- | --- |
| DicomBridgeConfig | YAML record (immutable). Rejects writes: blocks at construction. Validates mode-block consistency. |
| DicomBridgeConfigLoader | Jackson YAML loader. FAIL_ON_UNKNOWN_PROPERTIES = true. |
| DicomwebTransport | Test-seam interface for DICOMweb mode. Exactly two methods: qido(path) and wadoMetadata(path). No write surface. |
| JdkHttpDicomwebTransport | Production wiring on java.net.http.HttpClient. GET only. Supports OAuth2 bearer, basic auth, mutual TLS. |
| InMemoryDicomwebTransport | Test transport preloaded with JSON resources. |
| DimseClient | Test-seam interface for DIMSE mode. Exactly three methods: cFind, cMove, cGet. No cStore. |
| InMemoryDimseClient | Test DIMSE client preloaded with study fixtures. |
| DicomwebClient | Wraps DicomwebTransport, handles per-study/per-series QIDO chains. |
| DicomStudyBinding | Resolved binding identity at runtime. |
| DicomSrParser | Pure functions. Walks DICOM SR content tree, extracts findings. |
| DicomSignalMapper | Maps SR findings to ImagingFindingSignal. |
| DicomPseudonymService | SHA-256(patientId + studyUID + salt), truncated to 24 hex chars. |
| DicomClientService | Owns transport, scheduler, parser, pseudonym service, queues, audit channel. AutoCloseable. |
| DicomFindingInput | IInitInput. Drains all configured bindings. The only signal-producing class. |
| DicomAuditOutput | Local JSONL append-only audit. Local-only. |

Notably absent: no aggregator class. The package contains a single output-side class — DicomAuditOutput — and that exists only to write to the audit JSONL, not to a PACS. There is no DicomImagingFindingOutputAggregator or anything analogous. A future maintainer who wanted to add a write surface would have to create the class from scratch, which would be a substantial diff that a code review would catch.

# 6. The three structural defences

The DICOM bridge is the only bridge in the directory with no aggregator class at all. The three structural defences together make this bridge incapable of writing to any DICOM target.

Defence 1 — package-level absence of aggregator. The worker.bridge.dicom package contains DicomAuditOutput (for the local audit JSONL) and no other output-side class. There is no DicomImagingFindingOutputAggregator, no DicomSrEgressAggregator, nothing analogous. A worker.registerOutputAggregator(new DicomOutputAggregator()) line wouldn't compile because the class doesn't exist. A future maintainer wanting to add write authority would have to create the class, which would be a substantial diff visible in any code review.

Defence 2 — transport interface read-only. DicomwebTransport exposes qido and wadoMetadata. Both issue HTTP GET. There is no post, no put, no delete, no stowRs, no method accepting an HTTP verb argument or a request body. DimseClient exposes cFind, cMove, cGet. There is no cStore. A code path that writes to a DICOM target cannot be expressed because neither seam provides one.

Defence 3 — `writes:` block rejected at config load. DicomBridgeConfig.create() declares a @JsonProperty("writes") Object writes parameter — declared so Jackson's FAIL_ON_UNKNOWN_PROPERTIES = true doesn't reject it, but the body checks for non-null and throws IllegalArgumentException with a clear message pointing to 07-DICOM.md §0, §3, §6. A YAML accidentally including a writes: section is caught at load with a message naming the spec section that forbids it.

These three defences are layered, not redundant. Each holds even if the others fail. There is no environment variable, no flag, no simulatorOnly escape, no test-mode bypass. The bridge is structurally incapable of writing to a DICOM target.

# 7. Configuration

Configuration is YAML, loaded once at startup through DicomBridgeConfigLoader.load(Path). Hot-reload is not supported. The loader sets FAIL_ON_UNKNOWN_PROPERTIES = true. There is no `writes:` section, and including one fails the load.

## 7.1 Schema

The configuration has seven top-level keys.

- mode — DICOMWEB (REST) or DIMSE (classical).

- dimse — DIMSE configuration block. Required when mode: DIMSE.

- dicomweb — DICOMweb configuration block. Required when mode: DICOMWEB.

- security — auth type and parameters with env-var names.

- reads — list of study-search bindings.

- privacy — pseudonymisation flag and salt env-var name.

- audit — local JSONL audit file path.

- tickInterval — worker tick cadence. Default PT1S.

## 7.2 Minimal example — Orthanc smoke test

The smallest useful configuration. Local Orthanc instance, single study-search binding for SR documents. Suitable as a first integration check.

mode: DICOMWEB dicomweb: baseUrl: "http://localhost:8042/dicom-web" pollIntervalSeconds: 60 security: type: NONE reads: - bindingId: SR-CARDIOLOGY qidoQuery: "/studies?ModalitiesInStudy=SR&StudyDate=20260101-" targetSignal: IMAGING_FINDING signalTag: "IMAGING.SR.CARDIOLOGY" privacy: pseudonymise: true audit: localAuditFile: "/tmp/jneopallium-dicom-audit.jsonl" tickInterval: "PT5S"

## 7.3 Production-like example — OAuth2 DICOMweb endpoint

A configuration shaped like a real deployment: institutional DICOMweb endpoint, OAuth2 bearer auth, three reads spanning cardiology SRs, radiology SRs, and pathology reports.

mode: DICOMWEB dicomweb: baseUrl: "https://pacs.hospital.local/dicom-web" pollIntervalSeconds: 60 security: type: OAUTH2_BEARER_TOKEN tokenEndpoint: "https://idp.hospital.local/token" clientId: "jneopallium-clinical-decision-support" clientSecretEnv: "DICOMWEB_CLIENT_SECRET" scope: "studies.read" reads: - bindingId: SR-CARDIOLOGY qidoQuery: "/studies?ModalitiesInStudy=SR&StudyDescription=*cardio*&StudyDate=20260101-" targetSignal: IMAGING_FINDING signalTag: "IMAGING.SR.CARDIOLOGY" - bindingId: SR-RADIOLOGY qidoQuery: "/studies?ModalitiesInStudy=SR&StudyDate=20260101-&StudyDescription=*chest*" targetSignal: IMAGING_FINDING signalTag: "IMAGING.SR.RADIOLOGY" - bindingId: SR-PATHOLOGY qidoQuery: "/studies?ModalitiesInStudy=SR&StudyDescription=*biopsy*" targetSignal: IMAGING_FINDING signalTag: "IMAGING.SR.PATHOLOGY" privacy: pseudonymise: true saltEnv: "DICOM_PSEUDONYM_SALT" audit: localAuditFile: "/var/log/jneopallium/dicom-audit.jsonl" tickInterval: "PT5S"

## 7.4 DIMSE example

For classical PACS that don't expose DICOMweb:

mode: DIMSE dimse: callingAeTitle: "JNEOPALLIUM" calledAeTitle: "PACS_PROD" pacsHost: "10.20.30.40" pacsPort: 11112 pollIntervalSeconds: 60 security: type: NONE # DIMSE uses AE-title-based access, not HTTP auth reads: - bindingId: SR-INTRA-OP qidoQuery: '{"ModalitiesInStudy": "SR", "StudyDate": "20260101-"}' targetSignal: IMAGING_FINDING signalTag: "IMAGING.SR.INTRA_OP" privacy: pseudonymise: true audit: localAuditFile: "/var/log/jneopallium/dicom-audit.jsonl" tickInterval: "PT10S"

Note the qidoQuery for DIMSE is a JSON object literal — the DICOM attribute filter the bridge passes to cFind. For DICOMweb, the same field is a URL path.

## 7.5 Field reference

mode selects the transport. DICOMWEB for modern REST endpoints; DIMSE for classical PACS. The mode is validated at config load — mode: DICOMWEB without a dicomweb: block fails fast, and vice versa.

dicomweb.baseUrl is the base URL of the DICOMweb endpoint. Trailing slash optional. The bridge appends qidoQuery paths to this. For Orthanc default ports, http://localhost:8042/dicom-web.

dicomweb.pollIntervalSeconds is the per-binding poll cadence. The repo enforces a minimum of 30 seconds (in the source, MIN_POLL_INTERVAL_SECONDS = 30L). PACS endpoints are shared infrastructure that radiologists actively use; aggressive polling has the same impact as a DoS attack.

dimse.callingAeTitle / calledAeTitle are DICOM Application Entity titles — short strings (max 16 chars) that identify the calling and called parties in the DICOM network. Site DICOM administrators issue and register these.

dimse.pacsHost / pacsPort are TCP-level endpoints of the PACS DIMSE listener. DICOM well-known port is 104 but most institutions use 11112 or similar.

security.type is OAUTH2_BEARER_TOKEN, BASIC_AUTH, MUTUAL_TLS, or NONE. NONE is for Orthanc demos and similar unsecured local endpoints. Production institutional endpoints always require some form of auth.

security.clientSecretEnv / security.basicAuthPassEnv / security.trustStorePassEnv are environment variable names, never literal credentials.

reads[].qidoQuery for DICOMweb is a relative URL path with query parameters: /studies?ModalitiesInStudy=SR&StudyDate=20260101-. For DIMSE, it's a JSON object literal: {"ModalitiesInStudy": "SR"}. The bridge issues this as a search and follows up with WADO metadata fetches for any matching studies.

reads[].targetSignal is currently always IMAGING_FINDING. This is the only signal kind the bridge produces; future versions may add IMAGING_MEASUREMENT for quantitative SR fields.

reads[].signalTag is the stable signal tag downstream neurons subscribe to. Use site-specific naming: IMAGING.SR.CARDIOLOGY, IMAGING.SR.RADIOLOGY, etc.

privacy.pseudonymise defaults to true. When true, both PatientID and StudyInstanceUID are SHA-256-hashed with the salt before any signal or audit record is persisted. The pseudonym is a 24-character hex string prefixed with PT- for patient identifiers and ST- for study identifiers. When false, raw IDs flow through; the choice is recorded in the audit.

privacy.saltEnv is the name of the env var holding the pseudonymisation salt. As with FHIR, this should be a high-entropy string (32+ random hex chars) from a secret manager.

Unlike FHIR, the DICOM config has no redactFreeText flag. The SR parser only extracts coded content (concept codes from SNOMED CT, LOINC, RadLex). Free-text comments in SR are not surfaced to signals by default — they're available via a separate audit channel and explicit operator opt-in (a future feature; current bridge does not surface them).

# 8. Wiring the Java side

The bridge does not ship a main class. A minimal driver:

package com.example.imaging; import com.rakovpublic.jneuropallium.worker.bridge.common.AbstractBridgeAuditOutput; import com.rakovpublic.jneuropallium.worker.bridge.dicom.DicomAuditOutput; import com.rakovpublic.jneuropallium.worker.bridge.dicom.DicomBridgeConfig; import com.rakovpublic.jneuropallium.worker.bridge.dicom.DicomBridgeConfigLoader; import com.rakovpublic.jneuropallium.worker.bridge.dicom.DicomClientService; import com.rakovpublic.jneuropallium.worker.bridge.dicom.DicomFindingInput; import com.rakovpublic.jneuropallium.worker.bridge.dicom.DicomPseudonymService; import com.rakovpublic.jneuropallium.worker.bridge.dicom.DicomSignalMapper; import com.rakovpublic.jneuropallium.worker.bridge.dicom.DicomwebTransport; import com.rakovpublic.jneuropallium.worker.bridge.dicom.JdkHttpDicomwebTransport; import java.nio.file.Path; import java.util.List; public final class DicomBootstrap { public static void main(String[] args) throws Exception { // 1. Load YAML. Any `writes:` block fails the load with a clear message. DicomBridgeConfig cfg = DicomBridgeConfigLoader.load(Path.of("dicom-bridge.yml")); // 2. Open the audit sink. try (AbstractBridgeAuditOutput audit = new DicomAuditOutput( Path.of(cfg.audit().localAuditFile()))) { // 3. Build the transport. DICOMWEB mode shown; DIMSE mode would // use a DimseClient implementation instead. Both are // structurally read-only. try (DicomwebTransport transport = new JdkHttpDicomwebTransport(cfg)) { // 4. Build the pseudonym service from privacy config. // Reads the salt env var at construction time. DicomPseudonymService pseudonyms = DicomPseudonymService.fromConfig(cfg.privacy()); // 5. Build the signal mapper and the client service. DicomSignalMapper mapper = new DicomSignalMapper(cfg, pseudonyms); DicomClientService svc = new DicomClientService(cfg, transport, mapper, audit); // 6. Start: schedule per-binding QIDO polls. svc.start(); try { // 7. Build the input. There is only one input class; // pass it the list of bindingIds to drain. List<String> bindingIds = cfg.reads().stream() .map(DicomBridgeConfig.StudyReadConfig::bindingId) .toList(); DicomFindingInput input = new DicomFindingInput( "dicom-findings", svc, bindingIds); // 8. Register with the worker. // // NOTE: there is no aggregator to register. The bridge // has no egress surface. Neurons consuming // ImagingFindingSignal write proposals via the FHIR // bridge's advisory file or a similar separately // authorised channel — never via DICOM. worker.registerInput(input); worker.run(); } finally { svc.close(); } } } } }

Three implementation notes worth highlighting. There is exactly one input class and no aggregator. The bootstrap registers an input and nothing else from this bridge. This reflects the structural read-only design — neurons consuming ImagingFindingSignal send their decisions through a different bridge (FHIR for advisory files, MQTT for HMI notifications, OPC UA for industrial integration). The DICOM bridge is the ingress; the egress is somewhere else. The pseudonym service reads the salt at construction. Rotating the salt requires a worker restart. The audit and transport are both `AutoCloseable` — try-with-resources ensures clean shutdown even on exception.

# 9. Modeling guidance

## 9.1 What a DICOM SR contains

A DICOM Structured Report is a tree of content items, each carrying a coded concept and a value. The structure mirrors how a radiologist dictates a report:

- Root item: Imaging Report (LOINC 18748-4) or similar.

- Procedure reported (LOINC 21889-1): coded modality (CT, MRI, etc.).

- Body region (SNOMED 123037004): coded anatomy.

- Findings:

- Mass (SNOMED 4147007): coded yes/no, with location and measurements.

- Effusion (SNOMED 60046008): coded yes/no, with severity.

- etc.

- Impression: free text + optionally coded final diagnosis.

The bridge's DicomSrParser walks this tree and extracts coded findings. Each finding becomes an ImagingFindingSignal with:

- subject — pseudonymised patient ID.

- studyId — pseudonymised study UID.

- findingCode — the coded concept (SCT 4147007 for Mass, etc.).

- findingValue — the value (coded yes/no, measurement with unit, or text).

- bodyRegion — the body region from the parent context, if any.

- severity — the severity grade if encoded, else null.

- effectiveDateTime — ObservationDateTime from the SR.

- quality — Quality.GOOD if VerificationFlag is VERIFIED, UNCERTAIN if UNVERIFIED.

Free-text impressions are not surfaced — the parser ignores raw text nodes. Only coded findings flow through to signals. This is by intent: AI reasoning over free clinical narrative without explicit consent and NLP infrastructure raises concerns the bridge avoids.

## 9.2 What to bind

For most clinical-decision-support deployments, a single binding per imaging service line is sufficient:

- SR-CARDIOLOGY — cardiology SRs.

- SR-RADIOLOGY — general radiology SRs.

- SR-PATHOLOGY — pathology SRs.

The qidoQuery for each scopes the search appropriately. The bridge automatically paginates if a query returns many studies; pollIntervalSeconds controls how often the search is re-executed.

For a research deployment looking only at specific cohorts, scope the QIDO query tightly. The bridge does not implement its own access-control layer; it returns whatever the PACS' DICOM-level ACLs let through.

## 9.3 The targetSignal mapping table

Currently there is only one mapping:

| `targetSignal` | Signal class produced | Source DICOM artifact |
| --- | --- | --- |
| IMAGING_FINDING | ImagingFindingSignal | DICOM SR with coded findings |

Future enhancements may add:

- IMAGING_MEASUREMENT for quantitative SR values (e.g. ejection fraction = 55%).

- IMAGING_LANDMARK for structured anatomy localisation.

The current single mapping is intentional — get the SR ingress and pseudonymisation right before expanding the surface.

## 9.4 Adding a new SR-source binding

The procedure is simpler than for write-capable bridges because there is no protocol egress:

- YAML: add a reads: entry with a unique bindingId, the qidoQuery scoping the search, targetSignal: IMAGING_FINDING, and a stable signalTag.

- Java neurons: add or update a neuron that consumes ImagingFindingSignals with the new tag.

- Restart the worker. The bridge schedules a poll for the new binding at startup; the first results appear within pollIntervalSeconds.

There is no writes: to configure, no aggregator to register, no advisory file to wire up. Findings flow to neurons; whatever neurons decide goes through a different bridge.

# 10. Where the egress goes (since not here)

The DICOM bridge has no egress. So where do AI-derived imaging findings actually land?

- FHIR advisory file. The most common pattern. The FHIR bridge accepts TreatmentProposalSignal, ClinicalVetoSignal, and AdverseEventAlertSignal and writes them to a local advisory JSONL that EHR-side tooling consumes. An imaging-AI deployment running both DICOM (read) and FHIR (advisory egress) is a complete clinical-decision-support pattern with end-to-end auditability.

- A separately certified reporting pipeline. Some institutions have AI-reporting frameworks already (Aidoc, Riverain, Therapixel, others). The output side of those frameworks already handles regulatory submission; Jneopallium's role is to produce the structured findings their submission code consumes.

- MQTT advisory topic. For institutions running unified-namespace IIoT alongside clinical systems, MQTT advisory egress is an option. The MQTT bridge accepts the same signal types and publishes them to a designated advisory namespace.

What never happens: AI findings being written back to the same PACS as if they were radiologist interpretations. The structural read-only design of this bridge makes that impossible by construction. If your deployment thinks it needs that, the right answer is a separately certified AI-results-egress bridge with its own safety case and regulatory submission — not a flag flip on this one.

# 11. Audit and transparency

The bridge writes one JSONL record per decision to the local audit:

{ "ts": 1740000000000, "run": 12345, "bridge": "dicom", "verdict": "APPLIED", "tag": "IMAGING.SR.CARDIOLOGY", "subject": "PT-3a2f9b7c4d1e8f6a5c9d2e1b", "studyId": "ST-7b1c4a9d2e8f5b6c3a1d9e7f", "reason": "SR_FINDINGS_FETCHED", "findingCount": 7, "pseudonymised": true }

Records you will see:

| `verdict` | `reason` | Triggered by |
| --- | --- | --- |
| APPLIED | SR_FINDINGS_FETCHED | SR fetched and parsed; signals queued. |
| APPLIED | QIDO_QUERY_OK | QIDO search returned ≥0 studies. |
| APPLIED | WADO_METADATA_OK | WADO metadata fetch succeeded. |
| APPLIED | BRIDGE_RECONNECTED | OAuth token refreshed or transport re-established. |
| REJECTED | STUDY_QUALITY_BAD | SR had no coded findings (only free text); no signal produced. |
| REJECTED | STUDY_QUALITY_UNCERTAIN | SR had VerificationFlag = UNVERIFIED; signal still produced but Quality.UNCERTAIN. |
| FAILED | QIDO_ERROR:<code> | HTTP error from DICOMweb endpoint. |
| FAILED | WADO_ERROR:<code> | HTTP error fetching SR metadata. |
| FAILED | SR_PARSE_ERROR:<detail> | SR JSON failed to parse. |
| FAILED | OAUTH_REFRESH_FAILED | Token refresh failed; poll skipped. |
| FAILED | DIMSE_ERROR:<detail> | DIMSE-mode error from cFind/cMove/cGet. |

There is no INTERLOCK_TRIP row — this bridge has no aggregator, so it produces no interlock decisions. There is no CLAMPED_* row — no values are clamped because no values are written.

The audit file is local. No mirror to MQTT, syslog, or SIEM. PHI in imaging metadata makes any external audit channel risky.

# 12. Operating procedures

## 12.1 Smoke test against Orthanc

The fastest end-to-end check uses Orthanc, the free open-source PACS:

- Start Orthanc:

``bash    docker run -p 4242:4242 -p 8042:8042 --rm jodogne/orthanc    ``

- Upload a sample DICOM SR. Orthanc's web UI at http://localhost:8042/ accepts drag-and-drop. The dicom-sample datasets from the [DICOM Cookbook](https://www.dicomcookbook.com/) or any open-source SR sample work.

- Save §7.2 minimal config to dicom-bridge.yml. The Orthanc default DICOMweb endpoint requires no auth.

- Run DicomBootstrap (§8).

- Within the first poll cycle (60 s by default, tunable), DicomFindingInput.readSignals() returns one ImagingFindingSignal per coded finding in the SR.

- Inspect the audit JSONL: each record shows the pseudonymised subject (PT-…), the pseudonymised study (ST-…), and the finding count.

Orthanc's default ships with no data — upload at least one SR before expecting signals.

## 12.2 In-memory tests without Orthanc

For CI without an external PACS:

- Construct new InMemoryDicomwebTransport().

- Pre-load it with QIDO and WADO JSON fixtures using the transport's helper methods.

- Tick the worker. The bridge sees the in-memory data as if it came from a PACS.

The bridge's own integration tests follow this pattern.

## 12.3 Verifying the structural read-only guarantee

A useful audit step:

- Read DicomwebTransport.java. Confirm the methods are exactly qido, wadoMetadata, isReady, close.

- Read DimseClient.java. Confirm the methods are exactly cFind, cMove, cGet, close. No cStore.

- grep -r "OutputAggregator" worker/src/main/java/com/rakovpublic/jneuropallium/worker/bridge/dicom/ — no hits.

- Test: try adding a writes: [] block to YAML and load. The load fails with a message naming 07-DICOM.md §0, §3, §6.

Three structural defences, three places to audit. If any have changed, the bridge's safety posture has changed and the change needs scrutiny.

## 12.4 Rotating the pseudonymisation salt

The pseudonym mapping is salt-dependent. To rotate:

- Generate a new high-entropy salt.

- Set the new salt in the env var named by privacy.saltEnv.

- Stop the worker.

- Restart. New polls produce new pseudonyms.

This invalidates the old pseudonyms — both patient and study pseudonyms — so longitudinal models that track imaging history across many sessions should hold the salt constant.

## 12.5 Onboarding a new modality or service line

To start consuming SRs from a new clinical service:

- Coordinate with the institution's PACS administrator. Get the QIDO query that filters to the desired service line.

- Add a reads: entry with that query.

- Restart the worker.

- Verify the audit JSONL shows SR_FINDINGS_FETCHED records for the new binding.

The bridge does not need to know what kind of imaging it is — the QIDO query does the scoping. Cardiology, radiology, pathology, ophthalmology, dermatology — all use SRs, all work the same way through this bridge.

# 13. Privacy, ethics, and compliance

This is the third of three bridges in the directory (with LSL and FHIR) that handles personal health data. The structural posture:

- No write surface at all. The strictest defence in the directory. No aggregator class. No write methods on either transport seam. writes: rejected at config load.

- Pseudonymisation by default for both patient and study identifiers. privacy.pseudonymise: true is the default; both PatientID and StudyInstanceUID are hashed.

- Free-text impressions not surfaced to signals. Only coded findings (SCT, LOINC, RadLex) flow through. AI reasoning over free clinical narrative requires explicit infrastructure not built into this bridge.

- Local-only audit. No cloud egress for any audit record.

- Bridge logs use pseudonyms. Bridge-level SLF4J output uses binding IDs and pseudonyms, never raw IDs.

For HIPAA-covered deployments (US): imaging-related PHI handling needs a BAA with cloud providers (if any) and the audit-retention / access-control / encryption-at-rest controls that a HIPAA security analysis requires. The bridge's structural defences and local audit are starting points; the surrounding deployment makes the system compliant.

For GDPR-covered deployments (EU): Article 4(5) pseudonymisation is built in. Article 17 right-to-erasure maps to deactivating the patient from the cohort and pruning audit records by pseudonym. Article 22 (automated decision-making) is satisfied because the bridge produces no autonomous decisions — it produces typed signals consumed by neurons, whose decisions go through advisory channels with human oversight.

For MDR (EU medical-device regulation): the bridge does not claim medical-device classification by itself. A deployment using this bridge as part of clinical decision support needs the overall system to be MDR-classified appropriately; the bridge provides the audit trail, the structural read-only guarantee, and the pseudonymisation that any MDR submission needs.

For research deployments: IRB approval, consent documentation (including reuse-of-imaging consent which is its own ethics regime), and the institutional data-management plan remain the operator's responsibility.

# 14. Limitations and future work

- No write to DICOM, ever. Structural and by design. If a deployment needs AI findings written back to a PACS, that needs a separately certified results-egress bridge with its own safety case.

- No pixel data. Only SR metadata flows through. AI reasoning over pixel data needs a separate ingress pipeline that handles the data-volume and bandwidth concerns (DICOM imaging routinely runs into hundreds of MB per study).

- SR only. The bridge does not parse RT structure sets, segmentations, or other non-SR structured DICOM types. Future extension is straightforward — the parser is pluggable — but the v1 scope is SR.

- No DICOMweb subscriptions. The DICOMweb standard added subscription support recently, but server support is uneven. The bridge polls. A future version could use subscriptions where available.

- Single-PACS per bridge. Multi-PACS deployments run multiple bridge instances, each with its own configuration.

- Free-text impressions ignored. A future option may surface them with explicit opt-in and additional redaction infrastructure.

- No bulk export. DICOM-bulk endpoints exist (the bulkdata URLs in WADO-RS) but are not used by the bridge — for the SR metadata workload, ordinary WADO metadata fetches are sufficient.

# 15. Regulatory posture

| Aspect | Posture |
| --- | --- |
| Safety ceiling | READ-ONLY by construction. No aggregator class exists in the package. |
| Default per-binding mode | N/A — there are no perTagSafetyMode entries because there is no writes: section. |
| Forbidden write surfaces | All of post, put, delete, stowRs, cStore. No transport seam exposes any of them. |
| writes: block | Rejected at config load with a message pointing to 07-DICOM.md §0, §3, §6. |
| Interlock authority | None. The bridge has no egress to interlock anything. |
| Operator override | Not applicable. |
| Audit | Local JSONL only. No mirror. |
| Privacy | SHA-256 pseudonymisation for both patient and study UIDs by default. |
| MoC | Hot-reload not supported. Salt rotation requires restart. |
| HIPAA / GDPR / MDR | Structural defences in place; surrounding institutional process makes the system compliant. |

The bridge is appropriate for any clinical-decision-support deployment where AI consumes radiologist findings but must not — under any circumstances — write to the PACS. The structural defences make this guarantee robust even against careless future maintenance.

# 16. References

- 07-DICOM.md — the bridge specification.

- 00-FRAMEWORK.md — the universal bridge contract.

- DICOM standard — https://www.dicomstandard.org/.

- DICOMweb — https://www.dicomstandard.org/using/dicomweb.

- Orthanc — https://www.orthanc-server.com/. Open-source mini-PACS suitable for development.

- dcm4che — https://www.dcm4che.org/. Java DICOM library, widely used; the bridge's DIMSE seam is designed to be implemented against this.

- dcm4chee Arc Light — https://dcm4che.atlassian.net/wiki/spaces/ee2/overview. Open-source production-grade PACS.

- DICOM Structured Reports — https://dicom.nema.org/medical/dicom/current/output/chtml/part16/sect_a.html. SR template definitions.

- SNOMED CT — https://www.snomed.org/. Codes for clinical findings.

- LOINC — https://loinc.org/. Codes for SR document types and content categories.

- RadLex — https://www.rsna.org/practice-tools/data-tools-and-standards/radlex-radiology-lexicon. Radiology-specific codes.

- HIPAA Security Rule — https://www.hhs.gov/hipaa/.

- GDPR — https://gdpr.eu/.

- EU MDR — https://eur-lex.europa.eu/eli/reg/2017/745/.

- Rakovskyi, D. (2024). Framework for Natural Neuron Network Modeling: The Jneopallium Approach. IJSR 13(7).