Building Models with Eclipse Ditto and Jneopallium

User Manual

Digital twin platform · advisory-only feature writes · prefix-enforced safety

Version: 1.0-SNAPSHOT

License: BSD 3-Clause

Author: Dmytro Rakovskyi

# 1. Introduction

[Eclipse Ditto](https://www.eclipse.org/ditto/) is the leading open-source digital twin platform. It models real-world devices as JSON "things" — each thing has features, each feature has properties, and the entire structure exposes REST and WebSocket APIs that applications consume. Ditto is what you use when you have hundreds or thousands of devices in the field and need a unified model layer above them: vendor SDKs, MQTT brokers, OPC UA servers, custom protocols — Ditto normalizes the lot into a single JSON shape that downstream consumers can rely on.

The Eclipse Ditto bridge connects Jneopallium to a Ditto deployment. It subscribes to twin events (property changes, feature changes, thing deletions) over WebSocket, decodes them into typed signals (MeasurementSignal for property values, AlarmSignal for feature names that match the severity map), and publishes neuron-derived advisory recommendations back to Ditto as twin property writes — but only to feature names with specific prefixes that mark them as advisory channels. There is no path on this bridge from neuron output to a non-advisory feature.

The bridge is structurally advisory. Three layered defences enforce this:

First, per-tag `AUTONOMOUS` is rejected at config load. The compact constructor of DittoBridgeConfig walks the perTagSafetyMode map and throws IllegalArgumentException if any entry is AUTONOMOUS. The exception message names the tag and points to the spec section. There is no environment variable, no simulatorOnly flag, no override.

Second, write bindings must target advisory features. The same compact constructor walks the writes: list and validates that each binding's feature field starts with either advisory_ or recommended_. A binding targeting setpoint_temperature fails to load with a message naming the binding and the spec section. Operators who control the Ditto deployment decide which features are advisory by naming them appropriately; the bridge structurally cannot write to anything else.

Third, the runtime re-enforces the prefix rule. DittoClientService.writeProperty() re-validates the feature name on every call. Even if a future maintainer somehow bypasses the config-load check (a bug, a code injection, an unintended config-reflection path), the runtime call still throws. Defence in depth: every layer holds even if the others fail.

This manual explains how to install the dependency, configure the bridge against a Ditto deployment (the Eclipse Ditto sandbox, your institution's Ditto cluster, or a self-hosted Docker stack), design a digital-twin model for a Jneopallium worker, and validate end to end. It assumes a Java engineer who knows Maven, has read the universal bridge framework (00-FRAMEWORK.md), and has at least basic familiarity with Ditto concepts (things, features, properties, the JSON model).

# 2. Six rules you must internalise before writing any code

The universal six from 00-FRAMEWORK.md §0, specialised for Eclipse Ditto:

- No raw write to a non-advisory feature from neuron output. The bridge never writes to a feature whose name does not start with advisory_ or recommended_. The check is structural at config load (DittoBridgeConfig compact constructor) and at runtime (DittoClientService.writeProperty()). A misconfigured binding fails to load with a clear message.

- Interlocks have advisory authority only. An InterlockSignal can drive a write to an advisory feature (e.g. advisory_emergency_state) where a separately certified downstream system reads it and decides whether to act on a real actuator. The bridge does not write a fail-safe value to a primary actuator — the actuator's owner does that, informed by the advisory feature.

- Operator override does not apply. Advisory bridges don't write regulatory control. OperatorOverrideSignal is ignored — overrides matter where actual writes happen, which is downstream of this bridge.

- Every advisory write produces an audit record. Records cover successful property writes, SHADOW-suppressed writes, prefix-rule rejections at runtime, clamp adjustments, transport failures, and bridge reconnects. Records are written to a local JSONL file.

- Quality propagates. Property values from Ditto with explicit timestamps and value structure produce Quality.GOOD; values missing a structural field that the mapper expects produce Quality.UNCERTAIN; payloads that fail to parse don't produce signals at all (logged with verdict=FAILED reason=DECODER_ERROR).

- Wall-clock timestamps come from the source. Ditto twin events carry an event timestamp in their headers; the mapper honours this in priority order: header timestamp, payload timestamp field, System.currentTimeMillis(). The fallback is only used when both source-side timestamps are absent.

# 3. Prerequisites

- JDK 17 or later. The bridge uses Java records and java.net.http.HttpClient plus java.net.http.WebSocket.

- Maven 3.9 or later.

- A reachable Eclipse Ditto deployment. Options:

- The [Eclipse Ditto sandbox](https://www.eclipse.org/ditto/) at https://ditto.eclipseprojects.io/ — open, free, throttled, suitable for development and demos.

- A self-hosted Ditto stack via the official docker-compose.yml from the Ditto repository.

- A production cluster: Bosch IoT Things, Bosch IoT Suite, or your own Ditto deployment with persistent storage and identity provider integration.

- The bridge core compiles without any Ditto client library — DefaultDittoTransport uses JDK HTTP and JDK WebSocket only. Tests inject an in-memory transport.

- For production deployments with TLS, OAuth2, or fine-grained access control: the institutional Ditto admin team's documentation. The bridge supports BasicAuth and OAuth2 Bearer; mTLS is out of scope (handle at the reverse proxy if needed).

# 4. Adding Jneopallium to your project

The Ditto bridge ships in the same worker artifact as the rest of Jneopallium:

<repositories> <repository> <id>gitlab-jneopallium</id> <url>https://gitlab.com/api/v4/projects/44434192/packages/maven</url> </repository> </repositories> <dependencies> <dependency> <groupId>com.rakovpublic.jneopallium</groupId> <artifactId>worker</artifactId> <version>1.0-SNAPSHOT</version> </dependency> </dependencies>

No additional dependencies are needed. The bridge uses Jackson (already in the worker) for JSON, JDK HTTP for REST, and JDK WebSocket for the event stream. Deployments that prefer the official ditto-client Java SDK can supply a DittoClientTransport adapter; the bridge stays unaware.

# 5. Architecture

The bridge introduces eleven boundary classes under worker.bridge.ditto:

┌──────────────────────────────────┐ WebSocket (twin events) │ Eclipse Ditto │ ───────────────────────────▶┐ │ • things, features, properties │ │ │ • policies │ ◀───── PUT property ────────│ │ • REST API + WebSocket │ (advisory features only) │ │ │ │ │ thing: │ │ │ plant:reactor1 │ │ │ features: │ │ │ temperature: {value: 67} │ (read — any feature) │ │ recommended_setpoint: │ (write — prefix-only) │ │ { value: 65 } │ │ └──────────────────────────────────┘ │ ▼ ┌──────────────────────────────────────┐ │ DittoClientService │ │ • owns transport (REST + WS) │ │ • event subscription │ │ • per-binding signal queues │ │ • bounded advisory queue │ │ • runtime prefix re-check │ └─┬───────────┬──────────────┬─────────┘ │ │ │ ┌──────────────▼─┐ ┌───────▼──────┐ │ │ DittoFeature │ │ DittoEvent │ │ │ Input │ │ Input │ │ │ (IInitInput → │ │ (IInitInput →│ │ │ Measurement / │ │ Alarm / │ │ │ Alarm) │ │ Lifecycle) │ │ └────────────────┘ └──────────────┘ │ ▼ │ [Standard Jneopallium pipeline] │ ▼ │ DittoAdvisoryOutputAggregator │ │ │ │ SetpointSignal → advisory_* / │ │ ActuatorCommand → recommended_* │ │ │ ▼ │ DittoClientService.writeProperty() ───────┘ │ (prefix re-checked here) ▼ DittoAuditOutput (JSONL, local)

Components:

| Class | Role |
| --- | --- |
| DittoBridgeConfig | YAML record (immutable). Rejects AUTONOMOUS and non-advisory feature prefixes at construction. |
| DittoBridgeConfigLoader | Jackson YAML loader. FAIL_ON_UNKNOWN_PROPERTIES = true. |
| DittoTransport | Test-seam interface. connect / subscribe / writeProperty / readProperty / setEventHandler / close. |
| DefaultDittoTransport | Production wiring. JDK HTTP for REST, JDK WebSocket for events. |
| DittoFeatureBinding | Resolved binding identity at runtime. |
| DittoSignalMapper | Pure functions. Ditto JSON → typed signals. Handles property modifications and feature modifications differently. |
| DittoClientService | Owns transport, event subscription, per-binding queues, bounded advisory queue, runtime prefix re-check, audit channel. AutoCloseable. |
| DittoFeatureInput | IInitInput. Drains MEASUREMENT bindings (numeric property values). |
| DittoEventInput | IInitInput. Drains ALARM bindings and lifecycle events (thing deletion, reconnect). |
| DittoAdvisoryOutputAggregator | IOutputAggregator. Encodes SetpointSignal / ActuatorCommandSignal as PUT property requests to advisory features only. |
| DittoAuditOutput | Local JSONL append-only audit. |

The aggregator does NOT extend AbstractBridgeOutputAggregator — the universal §2.2 SHADOW→ADVISORY→AUTONOMOUS algorithm doesn't apply when AUTONOMOUS is structurally unreachable. Per-tag SHADOW still suppresses outbound traffic, clamps still apply, but the algorithm is simpler: SHADOW drop, clamp, write to advisory feature, audit.

# 6. The three structural defences

The Ditto bridge is the second bridge in the directory (after FHIR) where the structural defences merit a dedicated chapter. Three layered guards together make this bridge incapable of writing to a non-advisory feature.

Defence 1 — `AUTONOMOUS` rejected at config load. DittoBridgeConfig's compact constructor walks perTagSafetyMode and throws IllegalArgumentException for any AUTONOMOUS entry. The message names the offending tag and references 10-DITTO.md §1. There is no flag, no env var, no test-mode bypass that changes this. Other bridges (ROS 2, MAVLink) have a simulatorOnly escape; Ditto does not.

Defence 2 — non-advisory feature prefixes rejected at config load. The same compact constructor walks writes: and calls the static helper requireAdvisoryPrefix(feature, bindingId) on each binding. If the feature name doesn't start with advisory_ or recommended_, the loader throws with a message naming the binding, the feature, the spec section, and the two allowed prefixes.

Defence 3 — runtime prefix re-check. DittoClientService.writeProperty(feature, ...) re-validates the prefix on every call. Even if a future code path constructs a binding bypassing the config check (e.g. programmatic construction in tests, a serialization round-trip with a different config), the runtime call still throws. The defence holds even if defence 2 has been circumvented.

The cumulative effect: a Jneopallium deployment using this bridge cannot, under any configuration, at any runtime moment, by any code path, write to a Ditto feature whose name doesn't start with advisory_ or recommended_. The operator of the Ditto deployment decides which features are advisory by naming them appropriately, and the bridge respects that contract structurally.

This is similar to the FHIR bridge's read-only structural defence (where the transport interface has no write methods at all). FHIR is "no writes anywhere"; Ditto is "writes only to features whose names mark them as advisory." Both rely on multiple independent layers; both make the safety guarantee robust against careless future maintenance.

# 7. Configuration

Configuration is YAML, loaded once at startup through DittoBridgeConfigLoader.load(Path). Hot-reload is not supported. The loader sets FAIL_ON_UNKNOWN_PROPERTIES = true.

## 7.1 Schema

The configuration has nine top-level keys.

- connection — base URL, WebSocket path, HTTP path, request timeout, advisory queue size.

- authentication — auth type (None, BasicAuth, OAuth2BearerToken) with env-var names.

- things — list of thing IDs to subscribe to.

- reads — list of read bindings.

- writes — list of advisory write bindings.

- audit — local JSONL file path.

- perTagSafetyMode — per-binding SHADOW / ADVISORY. AUTONOMOUS rejected at load.

- severityMap — map from feature name suffix → AlarmPriority (for ALARM bindings).

- tickInterval — worker tick cadence. Default PT0.25S.

## 7.2 Minimal example — Ditto sandbox smoke test

The smallest useful configuration. Connects to the Eclipse Ditto public sandbox, subscribes to one thing, reads one property, writes one advisory recommendation.

connection: baseUrl: "https://ditto.eclipseprojects.io" authentication: type: None # the sandbox accepts anonymous reads/writes things: - "org.eclipse.ditto.examples:thing-1" reads: - bindingId: TEMP-IN thingId: "org.eclipse.ditto.examples:thing-1" feature: "temperature" property: "value" signalTag: "PLANT.TEMP" signalKind: MEASUREMENT writes: - bindingId: RECOMMEND-SP thingId: "org.eclipse.ditto.examples:thing-1" feature: "recommended_setpoint" property: "value" signalTag: "PLANT.SP" minClampValue: 0.0 maxClampValue: 100.0 audit: localAuditFile: "/tmp/jneopallium-ditto-audit.jsonl" perTagSafetyMode: RECOMMEND-SP: ADVISORY tickInterval: "PT1S"

## 7.3 Production-like example — OAuth2 with multiple things

A real deployment shape: institutional Ditto cluster, OAuth2 Bearer auth, three things in a fleet, four advisory write bindings targeting recommended_* and advisory_* features.

connection: baseUrl: "https://ditto.plant.local" webSocketPath: "/ws/2" httpPath: "/api/2" requestTimeout: "PT10S" advisoryQueueSize: 50000 authentication: type: OAuth2BearerToken tokenEndpoint: "https://idp.plant.local/token" clientId: "jneopallium-bridge" clientSecretEnv: "DITTO_CLIENT_SECRET" things: - "plant.reactor:R1" - "plant.reactor:R2" - "plant.reactor:R3" reads: - bindingId: R1-TEMP thingId: "plant.reactor:R1" feature: "temperature" property: "value" signalTag: "PLANT.R1.TEMP" signalKind: MEASUREMENT - bindingId: R1-PRESSURE thingId: "plant.reactor:R1" feature: "pressure" property: "value" signalTag: "PLANT.R1.PRESS" signalKind: MEASUREMENT - bindingId: R1-ALARM thingId: "plant.reactor:R1" feature: "high_temperature_alarm" property: "active" signalTag: "PLANT.R1.HTA" signalKind: ALARM writes: - bindingId: R1-RECOMMEND-SP thingId: "plant.reactor:R1" feature: "recommended_setpoint_temperature" property: "value" signalTag: "PLANT.R1.RECOMMEND.SP" minClampValue: 0.0 maxClampValue: 100.0 - bindingId: R1-ADVISORY-SHUTDOWN thingId: "plant.reactor:R1" feature: "advisory_shutdown_request" property: "active" signalTag: "PLANT.R1.ADVISORY.SHUTDOWN" - bindingId: R2-RECOMMEND-SP thingId: "plant.reactor:R2" feature: "recommended_setpoint_temperature" property: "value" signalTag: "PLANT.R2.RECOMMEND.SP" minClampValue: 0.0 maxClampValue: 100.0 - bindingId: R3-RECOMMEND-SP thingId: "plant.reactor:R3" feature: "recommended_setpoint_temperature" property: "value" signalTag: "PLANT.R3.RECOMMEND.SP" minClampValue: 0.0 maxClampValue: 100.0 audit: localAuditFile: "/var/log/jneopallium/ditto-audit.jsonl" perTagSafetyMode: R1-RECOMMEND-SP: ADVISORY R1-ADVISORY-SHUTDOWN: ADVISORY R2-RECOMMEND-SP: ADVISORY R3-RECOMMEND-SP: ADVISORY severityMap: high_temperature_alarm: HIGH high_pressure_alarm: URGENT tickInterval: "PT0.5S"

## 7.4 Field reference

connection.baseUrl is the Ditto cluster's base URL. Trailing slash optional. For the Eclipse sandbox: https://ditto.eclipseprojects.io. For self-hosted: typically https://ditto.your-domain.local behind a reverse proxy.

connection.webSocketPath defaults to /ws/2 (Ditto's standard WebSocket endpoint for API v2). connection.httpPath defaults to /api/2. Change only if your reverse proxy remaps the paths.

connection.advisoryQueueSize caps the outbound queue. When the WebSocket is slow or the cluster is overloaded, advisory writes queue here; the cap prevents unbounded memory growth. Excess writes are dropped with verdict=FAILED reason=ADVISORY_QUEUE_FULL. Default 10 000.

authentication.type is None, BasicAuth, or OAuth2BearerToken. The sandbox accepts None. Production always uses one of the authenticated options.

authentication.passwordEnv / clientSecretEnv are environment variable names, not literal credentials.

things is the list of thing IDs to subscribe to. The bridge issues one WebSocket subscription per thing at startup. Adding a thing to a live worker requires a restart.

reads[].thingId / feature / property is the three-level path Ditto uses to address a value: thing → feature → property. The full Ditto path is things/<thingId>/features/<feature>/properties/<property>.

reads[].signalKind is MEASUREMENT (numeric → MeasurementSignal) or ALARM (boolean → AlarmSignal if the feature name is in the severity map).

writes[].feature MUST start with advisory_ or recommended_. The compact constructor enforces this at load; the runtime re-enforces on every write. A binding with any other feature prefix fails to load.

writes[].minClampValue / maxClampValue are pre-write clamps. A value outside the range is moved to the nearest bound and audited with CLAMPED_LOW or CLAMPED_HIGH. null disables that side of the clamp.

perTagSafetyMode keys are bindingIds. Legal values: SHADOW, ADVISORY. AUTONOMOUS is rejected with IllegalArgumentException at load.

severityMap keys are feature-name substrings that the mapper checks against the inbound feature name; values are JOURNAL, LOW, HIGH, or URGENT. The mapper emits AlarmSignal with the matched priority.

# 8. Wiring the Java side

A minimal driver:

package com.example.twin; import com.rakovpublic.jneuropallium.worker.bridge.common.AbstractBridgeAuditOutput; import com.rakovpublic.jneuropallium.worker.bridge.ditto.DefaultDittoTransport; import com.rakovpublic.jneuropallium.worker.bridge.ditto.DittoAdvisoryOutputAggregator; import com.rakovpublic.jneuropallium.worker.bridge.ditto.DittoAuditOutput; import com.rakovpublic.jneuropallium.worker.bridge.ditto.DittoBridgeConfig; import com.rakovpublic.jneuropallium.worker.bridge.ditto.DittoBridgeConfigLoader; import com.rakovpublic.jneuropallium.worker.bridge.ditto.DittoClientService; import com.rakovpublic.jneuropallium.worker.bridge.ditto.DittoEventInput; import com.rakovpublic.jneuropallium.worker.bridge.ditto.DittoFeatureInput; import com.rakovpublic.jneuropallium.worker.bridge.ditto.DittoSignalMapper; import com.rakovpublic.jneuropallium.worker.bridge.ditto.DittoTransport; import java.nio.file.Path; public final class DittoBootstrap { public static void main(String[] args) throws Exception { // 1. Load YAML. AUTONOMOUS and non-advisory prefixes rejected here. DittoBridgeConfig cfg = DittoBridgeConfigLoader.load( Path.of("ditto-bridge.yml")); // 2. Open the audit sink. try (AbstractBridgeAuditOutput audit = new DittoAuditOutput( Path.of(cfg.audit().localAuditFile()))) { // 3. Build the transport. JDK HTTP + WebSocket. try (DittoTransport transport = new DefaultDittoTransport(cfg)) { // 4. Build the signal mapper and the client service. DittoSignalMapper mapper = new DittoSignalMapper(cfg); DittoClientService svc = new DittoClientService( cfg, transport, mapper, audit); // 5. Start: connect, subscribe to every thing, register // the event handler. Idempotent. Reconnects on WS drops. svc.start(); try { // 6. Build the inputs. DittoFeatureInput features = new DittoFeatureInput( "ditto-features", svc); DittoEventInput events = new DittoEventInput( "ditto-events", svc); // 7. Build the aggregator. Runtime prefix re-check // enforced inside writeProperty(). DittoAdvisoryOutputAggregator agg = new DittoAdvisoryOutputAggregator(cfg, svc, audit); // 8. Register with the worker. worker.registerInput(features); worker.registerInput(events); worker.registerOutputAggregator(agg); worker.run(); } finally { svc.close(); } } } } }

Three notes. The order of safety checks. Config load (steps 1) does the structural validation; if your YAML has a non-advisory feature or any AUTONOMOUS entry, you never reach step 2. The runtime check inside writeProperty() (step 8 onward) is defence in depth — it never fires under correct configuration, but it's there. Two inputs by signal family. Features (measurements) and events (alarms + lifecycle). The split mirrors how digital-twin platforms structure data: continuous values vs discrete events. WebSocket reconnect is automatic. DefaultDittoTransport handles WS drops with exponential backoff. The bridge logs reconnections as BRIDGE_RECONNECTED audit records. Long network outages may produce gaps in the event stream; on reconnect, the bridge re-reads current property values via REST to recover state.

# 9. Modeling guidance

## 9.1 What to bind on ingress

For a typical industrial twin, bind:

- Continuous process variables as MEASUREMENT. Temperature, pressure, flow, level. One binding per variable per thing.

- Discrete alarms as ALARM with severityMap entries. High-temperature, over-pressure, sensor fail.

- Thing-level lifecycle events are surfaced automatically via DittoEventInput — no explicit binding needed.

Resist binding every feature in every thing. Digital twin platforms often have rich models with dozens of features per thing for completeness; the bridge should consume only what the controller neurons actually use. The Ditto cluster handles the rest.

## 9.2 What to bind on egress

For each advisory channel the operator-side workflow consumes, create one write binding:

- *`recommended_setpoint_`** — neuron-derived setpoint recommendations. Downstream control system reads, validates, and (if approved) translates to an actual setpoint command on the real controller.

- `advisory_shutdown_request` — neuron-derived shutdown advisories. Operator console reads, surfaces to the operator, who decides.

- `advisory_inspection_request` — neuron-derived maintenance/inspection requests. Maintenance management system reads, schedules.

Two prefix flavours, same enforcement: recommended_ for parameter-like suggestions, advisory_ for action-like suggestions. The bridge treats them identically; the prefix is documentation for human operators reading the YAML or the audit log.

## 9.3 The advisory feature naming contract

The operator who controls the Ditto deployment is responsible for creating advisory features on the twin model. Two conventions:

- `recommended_<parameter>` for setpoint-like suggestions. Example: recommended_setpoint_temperature, recommended_flow_rate. The feature's property is the recommended numeric value.

- `advisory_<action>` for boolean-like or action-flag advisories. Example: advisory_shutdown_request, advisory_emergency_state. The feature's property is a flag or a structured request object.

The Ditto twin model should expose these features as separate from the corresponding real features. Real features (setpoint_temperature written by the actual control system) and advisory features (recommended_setpoint_temperature written by Jneopallium) coexist; downstream tooling consumes both. The naming clearly distinguishes which entity wrote which value.

A site standard worth considering: production thing models always include an empty recommended_* and/or advisory_* feature alongside each real feature that might receive AI suggestions. The bridge then has somewhere to write; without the feature existing on the thing, the write fails on the Ditto side (404 or similar).

## 9.4 Adding a new advisory write binding

The procedure:

- Ditto side: ensure the advisory feature exists on the target thing. If not, the Ditto admin adds it with an appropriate JSON shape (typically {value: <empty>} or {active: false}).

- YAML: add a writes: entry. The feature field MUST start with advisory_ or recommended_. The compact constructor verifies this at load.

- YAML — start in SHADOW. perTagSafetyMode: { NEW-BINDING: SHADOW }. Audit-only.

- Observe. Inspect the audit JSONL. Verify the proposed values are sensible.

- Promote to ADVISORY. Restart. Writes go through to the Ditto twin; downstream tooling sees them.

- There is no AUTONOMOUS step. The structural ceiling stays ADVISORY forever.

## 9.5 Adding a new ingress binding

- Ditto side: the feature you want to bind must exist on the thing. The bridge does not create features; it consumes them.

- YAML: add a reads: entry with the thing/feature/property triple, the signalTag, and the signalKind (MEASUREMENT or ALARM).

- Neurons: add or update a neuron that consumes the new tag.

- Restart. WebSocket subscription is established at startup.

# 10. The advisory egress algorithm

When the worker calls DittoAdvisoryOutputAggregator.save(), the aggregator does this in order for each result:

- `SetpointSignal`:

- Resolve the write binding by signalTag. UNBOUND → audit REJECTED reason=UNBOUND_SIGNAL_TYPE. No write.

- Resolve per-tag safety mode. SHADOW → audit REJECTED reason=SHADOW_MODE. No write.

- Clamp to [minClampValue, maxClampValue]. CLAMPED_HIGH or CLAMPED_LOW recorded in audit if a clamp fired.

- Call DittoClientService.writeProperty(thingId, feature, property, value).

- Runtime prefix re-check — the service throws if feature doesn't start with advisory_ or recommended_. Under correct config this never fires; defence in depth.

- Issue PUT request via the transport. APPLIED → audit APPLIED reason=PROPERTY_WRITTEN.

- Transport failure → audit FAILED reason=WRITE_ERROR:<detail>.

- Queue full → audit FAILED reason=ADVISORY_QUEUE_FULL.

- `ActuatorCommandSignal`:

- Only commands with execute=true are considered — otherwise audit REJECTED reason=EXECUTE_FALSE.

- Same algorithm thereafter.

- `TransparencyLogSignal`:

- Written to local JSONL audit. (No advisory mirror — the Ditto cluster is not the audit destination.)

There is no interlock fail-safe (the bridge can't write to a primary actuator anyway), no operator override registry (the bridge writes no regulatory control), no rate-limit, no diff-suppress. The algorithm is shorter than industrial-bridge algorithms because the safety surface is narrower.

# 11. Audit and transparency

The bridge writes one JSONL record per decision to the local audit:

{ "ts": 1740000000000, "run": 12345, "bridge": "ditto", "verdict": "APPLIED", "tag": "PLANT.R1.RECOMMEND.SP", "thingId": "plant.reactor:R1", "feature": "recommended_setpoint_temperature", "property": "value", "proposed": 72.5, "effective": 72.5, "reason": "PROPERTY_WRITTEN", "safetyMode": "ADVISORY" }

Records you will see:

| `verdict` | `reason` | Triggered by |
| --- | --- | --- |
| APPLIED | PROPERTY_WRITTEN | Advisory write succeeded. |
| APPLIED | CLAMPED_HIGH / CLAMPED_LOW | Value clamped before write. |
| APPLIED | EVENT_RECEIVED | Twin event decoded into a signal. |
| APPLIED | BRIDGE_RECONNECTED | WebSocket reconnected; subscriptions re-established. |
| REJECTED | SHADOW_MODE | Binding in SHADOW; no write. |
| REJECTED | EXECUTE_FALSE | ActuatorCommandSignal with execute=false. |
| REJECTED | UNBOUND_SIGNAL_TYPE | Tag has no writes: entry. |
| REJECTED | PREFIX_VIOLATION | Runtime prefix re-check fired (should never happen under correct config). |
| FAILED | ADVISORY_QUEUE_FULL | Outbound queue at cap. |
| FAILED | WRITE_ERROR:<detail> | Transport error during PUT. |
| FAILED | DECODER_ERROR:<detail> | Inbound twin event failed to parse. |
| FAILED | WS_DROPPED | WebSocket connection lost (followed by reconnect attempts). |

The local JSONL is the audit source of truth. No mirror to MQTT, syslog, or to a Ditto feature — twins are not audit destinations. For deployments wanting fast queryable audit access, route through the OTel bridge (see manual 09).

# 12. Operating procedures

## 12.1 Smoke test against the Eclipse Ditto sandbox

The fastest end-to-end check:

- Save §7.2 minimal config to ditto-bridge.yml. The sandbox URL and type: None work out of the box.

- Pre-create the thing on the sandbox. Use any HTTP client to PUT:

``bash    curl -X PUT https://ditto.eclipseprojects.io/api/2/things/org.eclipse.ditto.examples:thing-1 \      -H "Content-Type: application/json" \      -d '{"features":{"temperature":{"properties":{"value":20.0}},"recommended_setpoint":{"properties":{"value":0.0}}}}'    ``

- Run DittoBootstrap (§8).

- Modify the temperature value via curl:

``bash    curl -X PUT https://ditto.eclipseprojects.io/api/2/things/org.eclipse.ditto.examples:thing-1/features/temperature/properties/value \      -H "Content-Type: application/json" -d '67.5'    ``

- The bridge's WebSocket receives the event; DittoFeatureInput.readSignals() returns a MeasurementSignal(value=67.5).

- A neuron emits a SetpointSignal(tag=PLANT.SP, value=65.0). The aggregator writes to recommended_setpoint.value. Verify on the sandbox via curl GET.

## 12.2 Verifying the prefix-rejection defences

A useful set of tests:

- Config-load test. Construct YAML with writes: - feature: "setpoint_temperature" (no advisory prefix). Load. Assert IllegalArgumentException with the message naming the spec section.

- Config-load test for AUTONOMOUS. Construct YAML with any binding in AUTONOMOUS. Load. Assert IllegalArgumentException.

- Runtime test. Construct a binding programmatically with feature: "advisory_foo". Subscribe via start(). Then construct a different binding programmatically with feature: "primary_foo" (test fixture bypassing the compact constructor for the test only). Call writeProperty() directly. Assert it throws on prefix check.

The third test exercises defence 3 in isolation. Under correct production wiring, defence 3 never fires — defence 2 catches the issue at load. But the runtime check is the failsafe.

## 12.3 Verifying WebSocket reconnect

Simulate a network blip:

- Run the bridge against a Ditto deployment you control.

- Block the WebSocket port at the firewall level for 30 seconds.

- Observe FAILED reason=WS_DROPPED audit records.

- After 30 s, unblock the port.

- Observe APPLIED reason=BRIDGE_RECONNECTED and the event stream resuming.

If reconnection doesn't happen, check the transport's logs — DefaultDittoTransport uses exponential backoff with a max retry interval. Long outages eventually saturate the backoff; restart the bridge.

## 12.4 Promoting from SHADOW to ADVISORY

- Run for an observation period in SHADOW.

- Inspect audit JSONL: every advisory write appears as REJECTED reason=SHADOW_MODE with the proposed value.

- Have the operator reviewing process verify proposals are sensible. The Ditto twin's downstream consumers should confirm they'd be ready to consume real advisory values from the bridge.

- Stop. Edit YAML: change perTagSafetyMode to ADVISORY. Restart.

- Advisory writes hit the Ditto twin. Downstream consumers pick them up.

There is no ADVISORY → AUTONOMOUS step.

# 13. Limitations and future work

- No `AUTONOMOUS` ceiling. Structural and intentional. If a future deployment needs autonomous writes, that needs a separately scoped bridge with its own safety case — not a flag on this one.

- WebSocket only for events. Ditto supports both WebSocket and HTTP SSE for events. The bridge uses WebSocket only. Future enhancement could add SSE as an option.

- No policy management. Ditto has rich access-control policies; the bridge consumes Ditto's policy decisions but does not configure them. Policy administration is operator-side.

- No bulk write. Each advisory write is one HTTP PUT. For high-rate scenarios with many properties on the same thing, this is inefficient. Future enhancement could batch writes targeted at the same thing.

- No structural identity validation. A misconfigured shadow client with bridge credentials can write to the same advisory features the bridge writes to. The bridge audits its own writes; Ditto's policy-based ACLs are the only defence against parallel writers.

# 14. The digital-twin pattern this bridge enables

Ditto's value proposition is the "thing → features → properties" abstraction over heterogeneous device protocols. The bridge participates in this pattern as follows:

- Real features are written by the device's own connection — Ditto's MQTT connection, AMQP connection, HTTP connector, or a vendor SDK. These features have plain names: temperature, pressure, setpoint.

- Advisory features are written exclusively by Jneopallium through this bridge. Names: recommended_setpoint, advisory_shutdown_request.

- Downstream consumers (operator dashboards, alerting systems, downstream control logic, SCADA integrations) subscribe to the entire thing and decide how to display, alert on, or act on each feature. The naming makes provenance immediately clear: setpoint = 65 is the real current setpoint; recommended_setpoint = 60 is what the AI thinks it should be.

A site with three reactors and a Jneopallium control-recommendation deployment ends up with a Ditto twin model where each reactor thing has roughly:

- Real features: temperature, pressure, level, setpoint_temperature, setpoint_pressure, high_temp_alarm, high_pressure_alarm, …

- Advisory features (Jneopallium-only): recommended_setpoint_temperature, recommended_setpoint_pressure, advisory_shutdown_request, advisory_inspection_request.

Operator consoles read both sets and present them appropriately: real values prominently, recommendations subtly nearby. The audit trail (this bridge's JSONL plus operator-side decision logs) shows the full chain of evidence whenever a human takes action based on an advisory.

# 15. Regulatory posture

| Aspect | Posture |
| --- | --- |
| Safety ceiling | ADVISORY. Structural. Three layered defences (config-load AUTONOMOUS check, config-load prefix check, runtime prefix re-check). |
| Default per-binding mode | SHADOW. Every binding must be explicitly promoted to ADVISORY. |
| Forbidden write surfaces | Features without advisory_ or recommended_ prefix. Enforced at config load and at runtime. |
| AUTONOMOUS rejection | Both at config-load (any AUTONOMOUS entry) and at architecture level (the autonomous-write algorithm is not invoked). |
| Interlock authority | Advisory only. Interlock signals drive advisory features; downstream systems make actual actuator decisions. |
| Operator override | Not applicable — bridge writes no regulatory control. |
| Audit | Local JSONL. No mirror. |
| MoC | Hot-reload not supported. YAML changes follow site MoC. |
| Standards alignment | The bridge does not by itself satisfy any specific certification. For ISO 27001 / IEC 62443 / SOC 2 deployments, the bridge contributes the audit trail and structural safety defences those frameworks require. |

The bridge is appropriate for any deployment where a digital twin platform exists at the integration layer and AI recommendations need to flow into it without granting AI direct write authority to operational features. The three structural defences make this guarantee robust against careless future maintenance.

# 16. References

- 10-DITTO.md — the bridge specification.

- 00-FRAMEWORK.md — the universal bridge contract.

- docs/ditto-bridge.md — domain-context companion in the repo.

- Eclipse Ditto — https://www.eclipse.org/ditto/. Project homepage.

- Ditto API — https://www.eclipse.org/ditto/http-api-doc.html. REST and WebSocket reference.

- Ditto sandbox — https://ditto.eclipseprojects.io/. Public test instance.

- Ditto Docker images — https://hub.docker.com/u/eclipse. Self-hosted deployment starting point.

- W3C WoT (Web of Things) — https://www.w3.org/WoT/. Related standardisation context.

- ISO 27001 — https://www.iso.org/standard/27001.

- IEC 62443 — https://www.iec.ch/cyber-security. Industrial automation security.

- SOC 2 — https://www.aicpa-cima.com/topic/audit-assurance/audit-and-assurance-greater-than-soc-2.

- Rakovskyi, D. (2024). Framework for Natural Neuron Network Modeling: The Jneopallium Approach. IJSR 13(7).